# PC BASED TEMPERATURE

# MONITORING AND

# CONTRL USING LAN NETWORK

By

R.J.NATRAJAN

&

S.VAIDHYANATHAN

III year, EEE

Sri Muthukumaran Institute Of Technology

ABSTRACT:

Many applications require precise temperature monitoring and control from a place that is far away from the field. For example, monitoring the temperature rise in transformer etc.

This project is developed for precise temperature monitoring from a distant place via the LAN network. This requires the temperature sensor kit, a parallel port, a server pc and a client pc. The sensor kit consumes very low power (5V DC supply). This project is very easy to implement. A special software and the circuit design were exclusively developed by the authors.

INTRODUCTION:

The project consists of,

1. Temperature sensor kit

2. Parallel port

3. Temperature monitoring software.

The main aim of this project is to continuously monitor the temperature changes from a server pc and transfer it to a client pc and any control can be effected from the client pc to control the temperature rise via the LAN network.

TEMPERATURE SENSOR KIT:

The sensor kit consists of,

1. Temperature sensor IC

2. Voltage regulator IC

3. Analog to digital converter IC

4. Parallel port connector

This kit is capable of measuring temperature in the range of (0-128ºC).

The sensor kit provides an 8-bit binary output at the parallel port connector. The input voltage is 5V DC supply which is fed to a voltage regulator IC. The temperature can be constantly monitored by connecting the kit to the parallel port of a computer.

TEMPERATURE MONITORING SOFTWARE:

The temperature monitoring software is exclusively developed by the authors for monitoring the temperature. The software automatically gets the binary input from the parallel port of the pc and displays the temperature in both Celsius and Fahrenheit.

The software was developed using the visual basic studio 6.0 platform.

There are two software’s namely server software and client software.

The temperature obtained by the server software can be accessed by the client software from a distant place using the LAN network by knowing the IP address of the server.

The temperature can be easily controlled by using this software by communicating to the sensor kit by using a relay operated controller.

IC’S USED:

1. LM35 IC - USED FOR SENSING TEMPERATURE.

2. ADC 0804 - USED FOR ANOLOG TO DIGITAL CONVERSION

3. L7805CV IC - USED FOR REGULATION OF INPUT VOLTAGE.

CONCLUSION:

This project is simple but very efficient for temperature monitoring and control. The project can be extended and the temperature can be transmitted via the internet to a remote computer.

REFERENCES:

1.”http://www.datasheetcatalog.com “for IC details.

* (The circuit and the software were exclusively designed and constructed by the    authors.)