## Sheet1
HEATLOSS |  | SUPERINSULATED HOUSE
THRU WALLS: | AREA: | 520 | -8x40x40, MINUS WINDOWS
| R-VALU: | 20 |  | MINUS UG WALLS
| HOURS: | 24
| BTU/DDAY: | 624
THRU ROOF: | AREA: | 1600
| R-VALU: | 60
| HOURS: | 24
| BTU/DDAY: | 640
THRU WINDO: | AREA: | 120
| R-VALU: | 2 | 7 | nite /day
| HOURS: | 11 | 13 | HOURS |  | 7828800 | TTL SOLR GAIN
| BTU/DDAY: | 660 | 222.8571 | 882.8571 |  | 6003428.5714 | TTL LOSS,SEASON
[6 empty] | 1825371.4286 | TTL NET GAIN,BTUs
THRU UGWALL: | AREA: | 640 | IGNORES SLAB
-undrgrnd- | R-VALU: | 30
| HOURS: | 24
| BTU/DDAY: | 512
THRU INFILTR: | AIR/HR: | 0.1 | 0.1
| VOLUME: | 12800 | CUBIC FT
| HOURS: | 24
| TLL LOSS: | 552.96 | BTU/D-DAY
| 4SEASON: | 3760128
TTL LOSS: | 3211.8171 | BTU/ DEGREE-DAY
| 21840356.5714 | BTU LOSS /SEASON
DEGREE-DAYS (1980) |  | 6800 | CENTRAL IOWA, |  | WINTER:
| SEPT | OCT | NOV | DEC | JAN | FEB | MAR | APR | MAY | TTL
| 123 | 394 | 882 | 1256 | 1435 | 1184 | 973 | 483 | 220 | 6950
GROSS LOSS: | SEPT: 21840356.5714; 6800 OCT: BTU
INTERNAL GAIN: | SEPT: 17000000; 6800 OCT: BTU; CENTRAL IOWA, NOV: 210DAYS@ 80K; WINTER: JAN: (CONSERVATIVE.CUD BE 160K)
INSOLATION: | SEPT: 7828800; 6800 OCT: BTU; CENTRAL IOWA, NOV: 9320; CENTRAL IOWA, DEC: BTU/SqFt/MO, IN SooCity, SEASON
NET GAIN: | SEPT: 2988443.4286; 6800 OCT: IF 0VR 0, NO FURNACE NEEDED!!
|  | BUT THAT'S AN AVERAGE!! |  |  | V COLD, W CLOUDS...