Automated 3D PDM Construction from segmented images using deformable models

Term Paper 2003: My Best View of A Topic in Medical Image Reconstruction and Visualization

Submitted by: Chandrasekaran Indhumathi

| Abstract: In recent years, several methods have been proposed for constructing statistical shape models to aid image analysis tasks by providing a priori knowledge. Examples include principal component analysis of manually or semi automatically placed corresponding landmarks on the learning shapes [point distribution models (PDMs)], which is time consuming and subjective. However, automatically establishing surface correspondences continues to be a difficult problem. This paper presents a novel method for the automated construction of three-dimensional PDM from segmented images. Corresponding surface landmarks are established by adapting a triangulated learning shape to segmented volumetric images of the remaining shapes. The adaptation is based on a novel deformable model technique. Keywords: computed tomography image segmentation medical image processing deformable models, image processing, shape models. # Introduction: # Statistical shape models introduced by Cootes and Taylor have been successfully employed to make image analysis tasks such as segmentation, registration, and recognition more robust by providing a priori shape knowledge. Such models capture the variability of objects by projecting a set of high-dimensional object representations onto a lower dimensional subspace of possible shapes, leading to a reduced set of shape parameters. One of the most crucial aspects of shape model generation is to represent a set of learning shapes with vectors of corresponding elements. This paper describes a novel method for the automated generation of three-dimensional (3-D) statistical shape models from segmented volumetric images. Object representation is one important aspect of shape modeling. Point distribution models (PDMs) are a class of shape models where the parameter vectors are composed of the coordinates of surface points. | This approach is less restrictive on topology, but requires a set of corresponding landmarks to be selected which can be consistently located from one shape to another. The number of necessary landmarks is substantial for 3-D surfaces, making manual selection very tedious, time consuming, and user dependent. In this paper, a method is proposed to automatically generate corresponding landmarks based on a novel technique for adapting a triangular mesh to a binary image. The adaptation technique is a 3-D elastically deformable model The mesh adaptation is governed by an external energy, which drives the mesh toward the object boundaries in the binary image, and an internal energy, which maintains the vertex distribution on the mesh surface. Topics related to MIRV: i) The basic concept is generation of 3D models from segmented Volumetric images. In MIRV various algorithms were taught for generating 3D model from images segments for volume rendering and surface rendering. ii) Vector algorithm iii) Surface landmarks are established by adapting a triangulated mesh shape to segmented volumetric images which is shown in MIRV under the topic Object Geometry Modeling which represent the geometry of physical objects using mathematical techniques, e.g. polygons and Compute the forms of arbitrary geometry e.g. contours & vectors. iv) Image Data set used were Computed Tomography scans of varying voxel sizes. A computed tomographic image is a two-dimensional map of the linear attenuation coefficient of the imaged slice. ## Old method and New Contribution: One of the most crucial aspects of shape model generation is to represent a set of learning shapes with vectors of corresponding elements. Point distribution models (PDMs) are a class of shape models where the parameter vectors are composed of the coordinates of surface points. |  |
| --- | --- | --- |
| This approach is less restrictive on topology, but requires a set of corresponding landmarks to be selected which can be consistently located from one shape to another. The number of necessary landmarks is substantial for 3-D surfaces, making manual selection very tedious, time consuming, and user dependent. Early work by a group proposed a semi automated land marking method which required manual identification of a few anatomical landmarks to estimate a registration of triangulations This work has investigated the possibility of automating the Selection of landmarks by means of image registration. This method has the advantage of taking the mesh connectivity into account, and improving the compactness (number of parameters) of the model by restricting artificial model variability due to a varying distribution of vertices on the mesh surface. This method does not require the inversion of a volumetric transformation. Save lot of time since making manual selection very tedious, time consuming, and user dependent. Reconstruction Technique and Algorithm: The input to our method is a learning sample, which consists of a set of learning shapes. Originally, the shapes are represented by volumetric image data sets where the objects of interest have been segmented. A consistent triangulation of all objects in the learning set is constructed as follows. (1) Select an arbitrary template from the set of learning shapes and triangulate the object surface. 2) For each of the remaining learning shapes, estimate a preliminary pose and scaling that approximately aligns the template mesh to the learning shape in the segmented Volume data set. This serves as an initialization for the subsequent local adaptation process. 3) Locally adapt the template mesh to the learning shape in the segmented volume data set using a deformable model based approach. This procedure yields a set of triangulated surfaces, together with point-wise corresponding vertices from one mesh to the other, which are necessary to build a PDM. | Construction of point distribution model Having established point-wise correspondences between the vertices for all shapes, next thing is to build a statistical model invariant to pose and scaling, since these parameters are not intrinsic shape characteristics, and are not described by a linear principal component analysis model. A common approach to building a shape model excluding pose and scaling from the model is a Procrustes analysis, which we have implemented with an iterative approximation by a two-step minimization of - estimate the components of the eigenmodes using PCA - align the vertices of each learning sample with the mean. This is done by estimating pose and scaling parameters using a point-based registration method based on SVD. The optimization is terminated when the distance between the corresponding eigenmodes of two iterations is smaller than a threshold. ### Imaging equipment: Images slices used for this are computed tomography (CT) images of different voxels. A computed tomographic image is a two-dimensional map of the linear attenuation coefficient of the imaged slice. There is no summation from overlapping structures. ### Image data representations: For this study femur dataset and vertebra dataset were used. The femur study, a medium detailed shape, consisted of volumetric computed tomography (CT) scans of varying voxel sizes (0.6 0.6 2.0mm –0.9 0.9 3.0mm). For Vertebra Study, volumetric CT scans of varying voxel sizes (0.2 0.2 2.0 mm –0.7 0.7 3.0 mm) are used. |  |

| Result: Several experiments were carried out to characterize the behavior of the main modeling steps, i.e., establishing corresponding landmarks from a set of learning shapes and deriving a statistical model. The modeling procedure is applied to two distinct anatomical structures, the vertebra of the spine and the femur. These structures are selected because they exhibit medium to high level of shape detail and variability. In the first two experiments, the land marking procedure is analyzed. First, how close the automatically generated landmarks (i.e., the vertices of the adapted template mesh) were adapted to the surface of a learning object in the segmented volumetric images is assessed. Then, the point correspondence defined by the algorithm models anatomical correspondence is characterized. This is done by measuring the distance of particular vertices to manually defined anatomical landmarks. Femur study was carried for 13 individuals suffering from slipped capital femoral epiphysis. Vertebra of eight normal patients from which 32 vertebrae (L1–L4) were extracted. The vertebra is a highly detailed structure with medium variability. All images were segmented using semi automated volume editing tools and slice-by-slice correction using outlining. task and subject to human error. Therefore, six landmarks on a subset of ten vertebra arbitrarily selected from the sample of 32. This kept the landmarking effort at a feasible level. Fig. 2. Orthogonal gray-value cross sections of the template mesh (white outline) adapted to the segmented image of a vertebra Assumptions made: The mean computation time for one adaptation was 30 s The maximum distance between the vertices (landmarks) of the adapted mesh and the surface of the learning vertebra was 4.0 mm, and the mean distance was 0.8 mm. The femur shapes were achieved with a maximum distance of 3.5 mm and a mean distance of 0.8 mm. Placing landmarks on anatomical objects is a tedious and difficult task and subject to human error. | Therefore, it is assumed to place six landmarks on a subset of ten vertebra arbitrarily selected from the sample of 32 individuals. Discussion and Conclusion: In this paper, a method to automatically construct statistical 3-D PDMs from segmented volumetric images. Corresponding landmarks on the surface of the shape are established automatically by the adaptation of a triangular mesh to segmented volumetric images. This method is fast (approximately 15 min computation time for modeling the datasets presented here), which is important for large object samples. This method models anatomical correspondence by 1) defining a triangulation optimized for local surface curvature and 2) taking into account the resulting vertex configuration by using an internal energy and a fixed topology. This is demonstrated for the vertebra by comparing manually to automatically placed anatomical landmarks. Future Improvements: The sample sizes are limited therefore; the analysis of our method based on larger samples must be left subject to future work. Experiments will be necessary to analyze how the method will perform for structures with less salient landmarks, and objects of higher variability (e.g., soft tissue). The internal energy of the deformable model prevents artificial vertex variability. Extending the energy formulation to preserve angles between triangles during adaptation may further improve the quality of the model. The results are difficult to compare with those of other reports, since the image resolution can vary significantly, other objects were modeled (e.g., brains, hands, or faces) and no common validation criteria have yet been established. Nevertheless, this would be an interesting future investigation, since the approach is sufficiently general to be applied to modeling tasks from other two-dimensional or 3-D application domains. |
| --- | --- |

Link to this paper:

IEEE transactions on medical imaging, vol. 22, no. 8, august 2003

Author: Michael R. Kaus*, Member, IEEE, Vladimir Pekar, Christian Lorenz, Roel Truyen, Steven Lobregt, and JürgenWeese

Referances :

i) Kelemen, G. Szekely, and G. Gerig, “Elastic model-based segmentation of 3-D neuroradiological data sets,” IEEE Trans. Med. Imag., vol. 18, pp. 828–839, Oct. 1999.

ii) Brett and C. Taylor, “Automated construction of 3-D shape models using harmonic maps,” in Proc. Medical Image Understanding and Analysis, 2000, pp. 175–178.

iii) T. McInerney and D. Terzopoulos, “Deformable models in medical image analysis: A survey,” Med. Imag. Anal., vol. 1, no. 2, pp. 91–108, 1996.15, pp. 402–417, Apr. 1996.

iv)www.cs.utah.edu/~whitaker/sceneRecon/defModels

v)http://www.loni.ucla.edu/