## Slide 1: Water supply system
For the buildings which are more than 6-storeys should use indirect supply system. We think that the Sump and pump system is more suitable for our commercial buildings which has 40-storeys.

## Slide 2: Sump and pump system
A water sump tank located on G/F or basement. A set of duty and standby transfer pump transfer the water to the roof water tank for storage.
All water meters, including vacant meter positions and check meter positions, shall be arranged in groups and housed in meter rooms or meter boxes. The meter room shall be used solely for housing the water meters to protect them against exposure to weather, falling objects and other undue external interferences.
For the zoning of high-rise buildings can be considered at 10 to 20 floor intervals to provide pressure balancing devices. Because the supply pressure at the draw-off points shall be kept below 400kPa.So we set the pressure reducing value set on 18/F.
For the commercial building, the meter size is determined based on the actual water consumption.

## Slide 4: Capacity of the roof tank and sump tank
Total no. of W.C. installed
=48x ?
=??W.C.
Total flush water required
=??x 45
=???litres
The capacity of the roof tank
=???x3/4
=????litres
The capacity of the sump tank
=???x1/4
=?????litres
Ref : http://www.wsd.gov.hk/en/html/pdf/HBonPIB.pdf