| Item No. | Description | Qty | Unit | Rate | HK $ | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| A B | BILL No. 12- (Cont’d) Steel and Metal work(Cont’d) Designing, supplying and fixing windows; aluminum anodized; framing; glazing beads; water bar; fittings; fixing lugs; weather strips; brackets; bolts; lock; handles and ironmongery; assembling jointing; cutting and pinning; lugs at ends of transoms and mullions; beddings in butyl mastic compound; painting with polysulphide sealant; all necessary painting; clean up on completion; glazing measured separately Windows; 1500x1200mm overall; 2 side hung opening light; 1 top hung opening light; with lock Casement doors; 2500x1200mm overall; 4 fixed lights; 1top hung opening light; including aluminium panels; with lock; latch operate by lever handle & dead bolt operate by key on both sides; 3 numbers stainless steel hinge on both sides | 23 2 | Nr Nr |  |  |  |

Carried to Collection      $