| Item No. | Description | Qty | Unit | Rate | HK $ | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| A B C D E F G H I | BILL No. 12- Steel and Metal work Framed wall mounted core rail; welded connections; flat; 10x 50mm ; Plastic hand rail Framed balustrades; welded connection; core rail; flat; 10x50mm; flanged ends; Plastic handrail Bottom rail; bar, 10mm center to center; fanged ends Balusters; bar; 10mm center to center; 1000mm high; fanged ends Balusters; rods; 10mm center to center; 800mm high Mild steel wall bracket; 10mm center to center; once bent;110mmn plunging and screwing; fanged end 45mm thick Stainless steel flush door; Door size 910x1980mm high; In 1 number door lining; Stainless Steel; weld connection; core plate; flat; 20x330mm Architrave; Stainless steel; weld connection; core plate; flat; 20x75mm | 81 130 20 57 77 33 2 5 10 | kg kg m Nr Nr Nr m2 m m |  |  |  |

Carried to Collection      $