ELECTRONIC MEASUREMENTS AND INSTRUMENTATION APRIL2005

All questions carry equal marks.

Answer Question No.1 Compulsorily. (1x14=14)

Answer One Question from each UNIT (4x14=56)

1.	a)	Define the terms precision and accuracy?

b)	What  is the basic principle of DC indicating instruments?

c)	What type of bridge is used to measure low –Q coils?

d)	Find the resolution of 31/2 DVM?

e)	What are the advantages of electronic instruments?

f)	What does spectrum analyser electronic?

g)	Distinguish between analog and digital tranducers?

h)	What are the advantages of thermocouples?

i)	What type of physical parameters that can be measured using piezo electric transducer?

j)	List the commonents of Digital DAS?

k)	What is Wilson central terminal?

l)	What is cardiac  vector?

m)	What are the uses of logic analysers?

n)	What are the advantages of semi – conductor strain gauges?

UNIT I

2.	a)	Define the following terms:

i)	Average Voltage

ii)	Resolution

- Limiting error

- Threshold

- Sensitivity.

b)	Explain in detail about different types of errors.

Or

c)	Draw the circuit of DC voltmeter and DC ammeter and explain their working.

d)	With a neat circuit diagram explain in detail about shunt type ohmmeter.

UNIT II

3.	a)	Draw the block diagram and explain the principle of operation f successive approximation DVM.

b)	With a neat block diagram explain in detail about frequency counter.

Or

c)	With the help of a neat sketch of its block diagram explain the principle of operator of a sampling CRO.

d)	With a neat block diagram explain in detail about spectrum analyser

UNIT III

4.	a)	Explain in detail about strain gauge.

b)	What are the advantages of electrical transducers?

Or

c)	Write short notes on:

i)	RTD

ii)	Thermistor

- Thermocuple

UNIT IV

5.	a)	Explain the basic components and their function of a typical digital DAS.

b)	Describe the working details of a PC based instrumentation system. Give the advantages of computer control.

Or

c)	Explain about standard ECG waveform.

d)	Write short notes on:

i)	Electro myograph

ii)	Electro exephalograph