ELECTRONIC MEASUREMENTS AND INSTRUMENTATION APRIL/ MAY 2003.

All questions carry equal marks.

Answer Question No.1 Compulsorily. (1x14=14)

Answer One Question from each UNIT (4x14=56)

1.	a)	Distinguish between Accuracy and precision.

b)	Draw the generalized mathematical model of a measurement system.

c)	Define limiting error.

d)	What is the disadvantage of Hays bridge?

e)	What is the meaning of a 31/2 digit DVM?

f)	Define voltmeter sensitivity.

g)	Mention the advantages and disadvantages of a integrating type DVM.

h)	Draw the equivalent of a piezo electric transducer.

i)	Distinguish between bonded and unbonded strain gauges.

j)	What is the function  of a delay line in CRO?

k)	How the ratio of two frequencies measured?

l)	What is electro meograph?

m)	Draw the typical EEG patterns for different  stages  of sleep.

n)	Mention the maximum length and data  rates of IEEE 488 bus.

UNIT I

2.	a)	What are different types of errors in a measurement ? Explain them with necessary analysis.

b)	A voltmeter reacting 70 V on its 100 V range and an ammeter reading 80 mA on its  150 mA range are used to determine the power dissipation in a resistor, Both these instruments are guaranteed to be accurate within +1.5% at full scale delflection. Determine the limiting error of the power.

Or

c)	Draw the schematic including values of an Ayrton shunt for a meter movement having a full scale deflection of 1 mA and an internal resistance of 500 Ω, to cover the current ranges of 10,50,100 and 500 mA.

d)	What type of bridge circuit is used to measure insulating properties of capacitors? Derive equations to measure unknown resistance, capacitance and dissipation factor at balance.

UNIT II

3.	a)	Draw the block diagram of a successive approximation DVM and explain the conversion technique used in it with an example.

b)	Explain how spectrum analysers are used for pulse width and repetition rate measurements.

Or

c)	Draw the basic ‘Q’ meter circuit and explain its operation. Draw the circuit for measurement of high impedance component.

d)	A CRT the distance between the deflecting plates is 1.0cm . The length of the deflecting plates is 4.5 cms and the distance of the screen from the centre of the deflecting plates is 33 cms. If 300 V accelerating voltage is applied calculate the deflection sensitivity of the tube. Derive expression used.

UNIT III

4.	a)	With the help of a neat sketch explain the principle, construction and operational features of LVDT. Obtain its input-output relationship.

b)	A strain gauge has gauge factor of ‘4’. It is attached to a metal bar that  stretches from 10 cms to 10.2 cms. What is the percentage change in the resistance. If unstrained value is 240 Ω, what is the value of strain?

Or

c)	Distinguish between a thermo couple and thermister, Explain the laws of thermo couple with necessary analysis.

d)	A caoacitive transducer has two plates of area 6 cm2  each separated by an  air gap of 2mm thickness. Find the displacement sensitivity due to gap change.

UNIT IV

5.	a)	Draw the block schematic of a data acquisition  system . Explain functional characteristics of each component.

b)	An IEEE 488 bus in a microprocessor based instrumentation system has been configured as a listener, explain the steps in hand shaking procedure adopted by the instrument with the controller before actual exchange of data signal.

Or

c)	Discuss in detail two of the digital recording techniques in detail.

d)	Explain different types of Electro systems employed in ECG measurements.