ELECTRONIC MEASUREMENTS AND INSTRUMENTATION OCTOBER/NOVEMBER 2003.

All questions carry equal marks.

Answer Question No.1 Compulsorily. (1x14=14)

Answer One Question from each UNIT (4x14=56) `

1.	a)	Define the terms precision and accuracy.

b)	What is the basic principle of DC indicating instruments?

c)	What type of bridge is used to measure low Q coils?

d)	Find the resolution of 312 DVM.

e)	What are the advantages of Electronic instruments?

f)	What does spectrum analyzer indicate?

g)	Distinguish between Analog and Digital transducers.

h)	What are the advantages of Thermocouples?

i)	What type of physical parameters that can be measured using piezo electric transducer?

j)	List the components of Digital DAS?

k)	What is Willson central terminal?

l)	What is cardiac vector?

m)	What are the uses of logic analysers?

n)	What are the  advantages of semiconductor strain gauges?

UNIT I

2.	a)	Define the following terms:

i)	Accuracy and precision

ii)	Resolution

- Limiting error

- Threshold

- Sensitivity.

b)	Explain in detail about different types of errors.

Or

c)	Draw the circuit of DC Voltmeter and DC Ammeter and explain their working.

d)	With a neat circuit diagram explain in detail about shunt type ohm meter.

UNIT II

3.		a)	Draw the block diagram and explain the principle of operation of a successive approximation DVM.

b)	With a neat block diagram explain in detail about frequency counter.

Or

c)	With the help of a neat sketch of its block diagram explain the principle of operation of a sampling CRO.

d)	With a neat block diagram explain in detail about spectrum analyzer.

UNIT III

4.	a)	Explain in detail about strain gauge.

b)	A strain gauge has a gauge factor 4. If the strain gauge is attached to a metal plate that  stretches from 0.25 m to 0.255 m when strained. What is the Or

Percentage change of R? If the unstrained value of gauge is 120 Cms. What is the gauge factor after application of strain?

Or

c)	Write short notes on:

i)	RTD

ii)	Thermistor

- Thermocouple

d)	What is the use of LVDT? Explain  the principle of operation. Mention its limitations.

UNIT IV

5.	a)	Explain the basic components and their function of typical digital DAX

b)	Describe the working details of a PC based instrumentation system. Give the advantages of computer control.

Or

c)	Explain about standard ECG  wave form.

d)	Write short notes on :

i)	Electro myograph

ii)	Electro encephalograph.