## Parcel 9
MULTI-SERVICES VOICE & DATA ACCESS EDGE SWITCH (SN8000) (Parcel 9)
Item | Qty | Part# |  | Description | Vendor | Model#
1 | 6 |  |  | Multi-Services Access Edge Switch System | Sedona | SN8000
Each SN8000 switch includes the following:
|  | 900006 | 1 | Chassis, assembled with 46-position backpanel, Status Panel Tray Assembly and Power Distribution panel. | Sedona
|  |  | 1 | PSU Shuttle with M3 power supply and fan | Sedona
|  |  | 2 | CU Shuttle with fan and F2 contoller board | Sedona
|  | 900011 | 2 | Switch Fabric cards | Sedona | SMC1c
|  | 100446 | 2 | Shelf Control Processor cards w/ 32M memory card | Motorola | MCP750HA
|  | 100298 |  | with FLASH disk-on-chip | Sandisk
|  | 100356 |  | with dual 100bT Ethernet PMC (rear access) | Tracan
|  | 100253 | 2 | DS3 ATM Access/Data Network Interface cards w/ 32M mem card | Motorola | MCPn750
|  | 100336 |  | with DS3 ATM PMC | IDT
|  | 100356 |  | with dual-port 100bT Ethernet PMC (rear access) | Tracan
|  | 900013 | 2 | DS3 ATM Line Termination Modules | Sedona
|  | 100253 | 2 | 100bT Ethernet Access/Data Network Interface cards w/ 32M mem card | Motorola | MCPn750
|  | 100355 |  | with dual-port 100bT Ethernet PMC (front access) | Tracan
|  | 100356 |  | with dual-port 100bT Ethernet PMC (rear access) | Tracan
|  | 100446 | 1 | Voice Control Processor card w/ 32M mem card | Motorola | MCP750HA
|  | 100298 |  | with FLASH disk-on-chip | Sandisk
|  | 100356 |  | with dual 100bT Ethernet PMC (rear access) | Tracan
|  | 100257 | 2 | 8-port DS1 BajaSpan Voice Network Interface cards | Artesyn
|  | 100259 | 2 | DSP Voice Signal Processor cards | DSP Rsrch
|  | 900061 | 2 | Multi-port DS1 Line Termination Modules | Sedona
|  | 100318 | 17 | Filler Cards - 3U high | Sedona
|  | 100319 | 8 | Filler Cards - 9U high | Sedona
|  |  | 1 | Cable Management comb | Sedona
2 | 6 |  |  | SN8000 Rel 1.8_27a Software, with Release Notes (on CD) | Sedona
3 | 1 |  |  | Installation and Provisioning Manual; User Documentation (on CD) | Sedona
4 |  |  |  | Design Documentation (Specs, Schematics, Gerbers, etc.) (on CD) | Sedona
5 | 11 | 900006 |  | Prototype Chasses, assembled with 46-position backpanel, Status Panel Tray Assembly and Power Distribution panel. | Sedona | Ph1,2,3
6 | 5 | 900006 |  | Prototype Chasses, assembled with 46-position backpanel, Status Panel Tray Assembly, Power Distribution panel and wired-in Power Supply | Sedona | Ph1&2
7 | 24 |  |  | PSU Shuttle with prototype power supply and fan | Sedona
8 | 34 |  |  | CU Shuttle with fan and fan contoller board | Sedona
9 | 5 |  |  | Empty Shuttle | Sedona
10 | 1 |  |  | Box of SN8000 Power supplies & fans | Sedona
11 | 28 | 900074 |  | Status Panel Assemblies | Sedona
| 31 | 300046 |  | Status Panel PCBs | Sedona
12 | 49 | 900011 |  | Switch Fabric Cards - SMC1c | Sedona | SMC1c
| 14 | 900011 |  | Switch Fabric Cards - SMC1b/a | Sedona | SMC1b/a
| 10 | 300041 |  | Switch Fabric PCBs - SMC1c | Sedona | SMC1c
| 13 | 300027 |  | Switch Fabric PCBs - SMC1b/a | Sedona | SMC1b/a
13 | 59 | 900013 |  | DS3 ATM Line Termination Modules | Sedona
| 2 | 300028 |  | DS3 ATM LTM PCBs | Sedona
14 | 23 | 900061 |  | Multi-port DS1 Line Termination Modules | Sedona
15 | 639 | 100318 |  | Filler Cards - 3U high - painted | Sedona
| 82 | 100318 |  | Filler Cards - 3U high - unpainted | Sedona
16 | 336 | 100319 |  | Filler Cards - 9U high - painted | Sedona
| 98 | 100319 |  | Filler Cards - 9U high - unpainted | Sedona
17 | 21 |  |  | Power Load Cards - 3U high | Sedona
18 | 23 |  |  | Power Load Cards - 9U high | Sedona
19 | 3 |  |  | Test Cards - 3U high | Sedona
20 | 19 | 900066 |  | Test Cards - 9U high | Sedona
21 | 10 |  |  | Extender Cards - 3U high | Sedona
22 | 5 |  |  | Extender Cards - 9U high | Sedona
23 | 24 |  |  | Fan Controller Cards | Sedona
24 | 2 |  |  | Backpanels | Sedona
25 |  |  | Faceplates with latch assemblies - 3U high:
| 7 | 200012 |  | Faceplate LTM 8-DS1 | Sedona
| 48 | 200013 |  | Faceplate LTM DS3 | Sedona
26 |  |  | Faceplates with latch assemblies - 6U high:
| 37 | 200039 |  | Faceplate mylar 8-DS1 | Sedona
| 38 | 200040 |  | Faceplate mylar VIPER 24 DSP | Sedona
| 38 | 200041 |  | Faceplate mylar RTM 8-DS1 | Sedona
| 42 | 200042 |  | Faceplate mylar HP (MCP750) | Sedona
| 34 | 200043 |  | Faceplate mylar IOP(MCPN750) | Sedona
| 14 | 200049 |  | Faceplate mylar 6U Filler | Sedona
| 345 | 200050 |  | Ejector Handle mylar cPCI | Sedona
| 28 | 200051 |  | Faceplate mylar 6Ux8HP PSU | Sedona
| 40 | 200062 |  | Faceplate mylar 6Ux2HP Filler | Sedona
| 36 | 200063 |  | Faceplate mylar PMC DUAL Ethernet FRONT I/O | Sedona
| 32 | 200064 |  | Faceplate mylar Ethernet IOP | Sedona
| 48 | 200065 |  | Faceplate mylar HP (MCP750) Ethernet | Sedona
27 |  |  | Faceplates with latch assemblies - 9U high:
| 7 | 200067 |  | Faceplate 8-DS1 | Sedona
| 11 | 200068 |  | Faceplate HPU | Sedona
| 60 | 200069 |  | Faceplate IOP | Sedona
| 2 | 200070 |  | Faceplate IOP Ethernet | Sedona
| 20 | 200071 |  | Faceplate SMC | Sedona
| 18 | 200072 |  | Faceplate VIPER 48 DSP | Sedona
| 25 | 200090 |  | Faceplate VCP | Sedona
| 64 | 200080 |  | RESET switch cover HPU | Sedona
| 77 | 200081 |  | RESET switch cover IOP | Sedona
| 29 | 200091 |  | Faceplate cover VCP | Sedona
| 39 | 200117 |  | Faceplate cover 8-DS1 | Sedona
| 119 | 200118 |  | Faceplate cover IOP | Sedona
| 150 |  |  | Assorted faceplates | Sedona
28 | 351 | 100420 |  | 6U-9U Adapters | Sedona
29 | 3 |  |  | Bags of Faceplate latches | Sedona
30 | 1 |  |  | Box of card assembly fasteners | Sedona
31 | 5 |  |  | Boxes of backplane coding keys | Sedona
32 |  |  | Voice Network Interface Cables:
| 2 | 500014 |  | Multiple DS1 LTM RJ48H 8FT | Sedona
| 14 | 500015 |  | Multiple DS1 LTM RJ48M 8FT | Sedona
| 3 | 500016 |  | Multiple DS1 LTM RJ48H 12FT | Sedona
| 3 | 500017 |  | Multiple DS1 LTM RJ48M 12FT | Sedona