Policy for using sampling of individually owned wells to establish public health priority points.

Version 2.0

Endorsed and Dated

For Public Water Supply: 
__________________________________________

For the Division of Environmental Health:  __________________________________________

Table of Contents

1.0 Overview	17

2.0 Conducting the Sampling Program	19

2.1 Outline of process	19

2.2 Identify wellsites to be affected	19

2.3 Selection of sample locations	20

2.4 Treatment of samples and analysis	21

2.5 Age of samples	22

3.0 Reporting Results	22

Appendix 1 – Statistical Notes for Well Water Contamination Tables 1 - 3	26

Appendix 2 – Random Number Generating Methods	28

Appendix 3 - Example Report	30

Appendix 4 – Revision History	25

List of Tables

Table 1 – Minimum prevalence of contamination required to be considered for priority points.	18

Table 2 –Minimum Required Sample Size and Upper Confidence Levels	21

# 1.0 Overview

The Public Water Supply Section, Division of Environmental Health (PWS) provides financial assistance for drinking water projects.  PWS prioritizes projects (in part) based on public health priority points., ,   The rules for the three programs PWS administers read identically, assigning maximum public health points to:

[p]rojects that address documented nitrate, nitrite, or fecal coliform MCL violations or contaminant levels in drinking water which constitute acute health risks as defined in 40 C.F.R. 141.32(a)(1)(iii) which is incorporated by reference at 15A NCAC 18C .1523.

In summary, these regulations provide maximum public health priority points to contamination of public water systems.  PWS has determined, as a matter of policy, that widespread contamination of individually owned wells constitutes a public health hazard just as does contamination of a public water system.  Therefore, under certain conditions the Public Water Supply Section, Division of Environmental Health (PWS) assigns maximum public health priority points for individually owned well contamination.

This policy document revises the procedures PWS uses to assign these maximum public health priority points for individually owned well contamination.  It collects in one document the requirements of a sampling program to document such "widespread contamination of individually owned wells" as to constitute a public health hazard.

A sampling program that fails to meet the requirements of this policy document can earn lesser priority points, for example, for "[p]rojects for line installation or extensions to areas with poor water quality or limited quantity." [1J .0711(2)(d)(iii), 1J .0711(2)(d)(iii), 1N .0602(4)(c)]

The sampling program must meet three requirements to obtain maximum priority points:

- meeting the numbers (see Table 1 below),

- adequate sample coverage, and

- reporting the results.

Table 1 – Minimum prevalence of contamination required to be considered for priority points.

| contaminant | minimum Contamination prevAlance required |
| --- | --- |
| Total Coliform | At least 60.0 % of wellsites positive. |
| Fecal Coliform | At least 10.0 % of wellsites positive. |
| Total Nitrate (reported as nitrogen) | At least 15.0% of wellsites exceed MCL of 10 mg/L as nitrogen. |
| Total Nitrite (reported as nitrogen) | At least 15.0% of wellsites exceed MCL of 1 mg/L as nitrogen. |
| Total Nitrate + Nitrite (reported as nitrogen) | At least 15.0% of wellsites exceed MCL of 10 mg/L as nitrogen. |
| Other exceedances of the MCL. | At least 25.0% of wellsites exceed the MCL. |

This policy document is split into two parts:

- §2 describes the requirements for conducting the sampling program, and

- §3 describes the requirements for reporting the results.

# 2.0 Conducting the Sampling Program

In general, PWS will no longer assign priority points based on individual well tests unless the tests are performed as part of a coordinated sampling scheme.  The sections below describe the required elements of a coordinated sampling program.

## 2.1 Outline of process

This section outlines the process flow of a successful sampling program.

- The applicant identifies an area with excessive contamination of individually owned wells.

- The applicant proposes a project to extend waterlines and replace contaminated wells.

  - The applicant surveys the route of the proposed project to determine what wellsites will be affected.

  - The applicant submits to PWS the addresses of the wells that will be affected.

- PWS determines which wellsites to sample.

  - PWS uses Table 2 of this policy to determine how many wellsites to sample.

  - PWS uses a random number generating scheme to determine which wellsites to sample.

  - PWS informs the applicant which wellsites to sample.

- The applicant samples the wellsites designated by PWS.  Alternatively, the applicant may choose to sample all wells.

- The applicant reports the results of the sampling program in the format of the attached sampling report.

## 2.2 Identify wellsites to be affected

The applicant will survey the path of the lines and determine the wellsites to be affected.  The applicant will assign a general-purpose identifier (e.g., property address) to each wellsite.  The applicant will also number each wellsite sequentially (the "unique identifier" discussed below).

To ensure random selection, the applicant will provide PWS with a Microsoft Excel spreadsheet listing the wellsites, including the general-purpose identifier and the unique identifier.  The applicant will inform PWS for what contaminants the samples will be analyzed.

## 2.3 Selection of sample locations

PWS will use Table 2 to determine the minimum required number of samples to ensure with 90% confidence that the sample results are statistically meaningful.

PWS will use one of several random number generating methods to determine which wellsites to sample (e.g., http://www.randomizer.org/index.htm).  These random number generating schemes are outlined in Appendix 2.

PWS will give the applicant the list of wellsites to be sampled.

The applicant should note that (as a rule-of-thumb) one needs to sample nearly all wells up to fifty.  Therefore, (especially for projects involving less than fifty wellsites) the applicant may wish to forgo the steps above and simply test all wells to be affected.

If the applicant chooses to sample all wellsites affected, then the number of positive samples required is calculated by multiplying the appropriate percentage from Table 1 by the number of wellsites sampled.

Table 2 –Minimum Required Sample Size and Upper Confidence Levels

| Total number of wells (Population Size) | MINIMUM Required Sample Size | Total Coliform Upper Confidence Interval | Nitrate / Nitrite upper Confidence Interval | fecal coliform upper Confidence Interval |
| --- | --- | --- | --- | --- |
| 0-10 | Sample all wells | 60% | 15% | 10% |
| 11-15 | 10 | 7 | 2 | 2 |
| 16-20 | 15 | 10 | 3 | 2 |
| 21-25 | 20 | 13 | 4 | 3 |
| 26-30 | 25 | 16 | 5 | 3 |
| 31-35 | 30 | 19 | 5 | 4 |
| 36-40 | 35 | 22 | 6 | 4 |
| 41-45 | 40 | 25 | 7 | 5 |
| 46-50 | 45 | 28 | 8 | 5 |
| 51-55 | 50 | 31 | 8 | 6 |
| 56-60 | 50 | 32 | 9 | 6 |
| 61-70 | 50 | 33 | 10 | 7 |
| 71-80 | 50 | 33 | 10 | 7 |
| 81-90 | 50 | 34 | 10 | 7 |
| 91-100 | 50 | 34 | 10 | 7 |
| 101-110 | 50 | 34 | 11 | 8 |
| 111-120 | 50 | 34 | 11 | 8 |
| 121-130 | 50 | 34 | 11 | 8 |
| 131-140 | 50 | 35 | 11 | 8 |
| 141-150 | 50 | 35 | 11 | 8 |
| 151-160 | 50 | 35 | 11 | 8 |
| 161-170 | 50 | 35 | 11 | 8 |
| 171-180 | 50 | 35 | 11 | 8 |
| 181-190 | 50 | 35 | 11 | 8 |
| 191-200 | 50 | 35 | 11 | 8 |
| 201-300 | 55 | 38 | 12 | 9 |
| 301-400 | 60 | 42 | 13 | 9 |
| 401-500 | 65 | 45 | 14 | 10 |
| 501-600 | 70 | 48 | 15 | 11 |
| 601-700 | 75 | 52 | 16 | 12 |
| 701+ | 75 | 52 | 16 | 12 |

## 2.4 Treatment of samples and analysis

The applicant must document the method, date and time of sampling, and the identity and qualifications of the sampler.

The applicant must document the method, date and time of analysis, and the qualifications of the analyst.  An appropriately certified drinking water laboratory (preferably the county health department) must conduct the analysis.  The laboratory shall report the analysis results to the applicant on the PWS form approved for compliance with the NC Drinking Water Act.

The applicant must document sample custody including holding times and temperatures, from the time of sample acquisition to the time of sample receipt by the laboratory.

## 2.5 Age of samples

No samples will be considered valid if the application deadline is more than 18 months after the date of sample acquisition. No samples will be considered valid if the holding times specified in the method are exceeded.

# 3.0 Reporting Results

The results of a coordinated sampling program must be reported in a manner that addresses each of the concerns discussed in section 2.  The report must include each of the following elements:

- How was the number of samples chosen?

- How were the sample locations chosen?

- How were samples acquired?

- How was sample chain of custody maintained?

- How were the samples analyzed?

- Do not report results for a property for which public water service is currently available.  If public water service is already available to a property, the property is ineligible for consideration as a public health risk.

If a property is sampled and it is later determined that public water service is currently available, the report must discuss and present the statistics discounting any results for the property.

- Do not report results for a property for which public water service will not be provided.  A project is ineligible to "get credit" for a problem at a property that the project will not correct.

If a property is sampled and it is later determined that the project will not provide water service, the report must discuss and present the statistics discounting any results for the property.

- Include the laboratory sheets for every sample.  The laboratory sheet must include a unique sample identifier that can be linked to the table and map discussed below.

- Include a color-coded map showing the following:

  - the location of all known individually owned wellsites,

  - the locations of all samples taken,

  - the results indicated by color,

  - the proposed project layout (e.g., the proposed new waterlines), and

  - the existing waterlines.

- Include the following statement:

  - "We have notified the owner of each well showing contamination."  Attach copies of notifications as an appendix.

  - "Owners of XXX of the XXX wellsites along the route have provided statements that they propose to sign up for the service.  This constitutes XXX% of the wellsites that can be served.  There are XX connections per mile of waterline throughout the project."  Note that, consistent with USDA Rural Development, PWS prefers to fund projects meeting 80% commitment at a minimum of 17 connections per mile.  In certain cases, commitment proportion can be traded against connections per mile.

  - If the applicant sampled all affected wellsites, include the following statements:

    - "The results of all samples taken are reported in this report."

    - "There is currently no public water service available to any of the properties for which results are reported" (i.e., the property cannot now be served without extensions of the main).

If water service is available to any properties for which results are reported, please discuss and report the statistics discounting any positive results for the property.

    - "This project will be able to provide water service to each property for which results are reported."

If the project will not provide water service to any property for which results are reported, please discuss and report the statistics discounting any positive results for the property in question.

- Address cost effectiveness.

  - Compare the cost of the project to the cost of every technically feasible alternative.

  - Calculate the cost per connection of each technically feasible alternative.

  - Discuss any (non-technical) limitations that may make an identified technically feasible alternative infeasible (e.g., local politics).

  - Consider those owners who propose to sign up and discuss the cost per proposed connection.

- Include a table of results cross-indexing results, identifier, address, date of sample acquisition, date of sample analysis, whether the well-owner has signed a statements proposing to connect, and reporting the following:

  - number of  wellsites in the project area,

  - whether the well-owner has signed a statements proposing to connect,

  - number of samples taken (total and as a percent of wellsites),

  - number of samples spoiled,

  - number and proportion of samples positive for each analyte:

    - as a percent of all samples taken, and

    - as a percent of valid samples taken (unspoiled samples from wellsites that currently cannot be served, but that will be served as a result of the project).

An example report is included as Appendix 1.

# Appendix 1 – Statistical Notes for Well Water Contamination Tables 1 - 3

Prepared as Statistical Notes for Well Water Contamination {"Statistical Notes (for J.Miles 1-30-2001).doc"}, internal correspondence prepared by Harry Herrick of the State Center for Health Statistics, part of DPH, for Jessica Miles).

- The statistical objectives for this project were twofold: (1) implement random sampling in all communities, except for the very smallest communities (<11 proposed hook-ups); and, (2) reduce variation in the standard errors of samples from very small and very large communities, so that the “chances” of a small or large community meeting the contaminant criteria are more nearly the same as those communities in the mid-range of the population.

- The standard error of the sample proportion was calculated as the square root of (p q/n), where p is the proportion under investigation and q is equal to 1– p.  So that, for example, the standard error for a sample size of 10 with a mean of 60% (e.g., total coliform) is: sqrt(.6(1-.6)/10), which resolves to .154 or 15.49%.

- The standard errors for Tables I-III were also adjusted by the square root of the factor, (N – n)/(N – 1), which is known as the finite population correction factor, or fpc.  The standard error is multiplied by the fpc to obtain the adjusted standard error. The value of N (population size) for Tables I-III was derived from the median value of the corresponding population interval.

- For example, the fpc for a sample of 10 wells drawn from a well population interval of 11-15 is: sqrt (13 – 10)/(13 - 1), which yields 0.5. Returning to our previous example (#2), the standard error of .154 was then multiplied by 0.5, yielding an adjusted standard error of .077 or 7.7%, reducing the standard error by 50%.

  - Thus it can be seen that the fpc serves to reduce the size of the standard error, when the sampling fraction represents a large percentage of the population, or when n is close to N.  As the sampling fraction becomes small relative to the population, the fpc has less effect.  For example, for a sample of 50 wells (for fecal coliform, requiring 10% positive) taken from a population interval of 201-300 wells, the standard error of .042, when multiplied by the corresponding fpc of 0.89, reduces to .037 – lowering the error by about 11%.

- The adjusted standard errors were used in the calculations of the 95 and 90 percent confidence intervals for Tables I-III.  To calculate the 95% confidence interval, the adjusted standard error was multiplied by 1.96 (two standard deviations of p), and the resultant value was added to and subtracted from the proportion under investigation.  To obtain the 90% confidence interval, the adjusted standard error was multiplied by 1.64.

- Rounding Rule: using the 100th decimal place, _.55 was rounded down to the next whole number; _.56 was rounded up to the next whole number.

- Example:  Imagine that in a population of N=27, n=26 samples are taken for total coliform (requiring p=60% of samples to be positive to earn priority points).

The unadjusted standard error is sqrt{p(1-p)/n} = 0.09608.

The fpc is sqrt{(N-n)/(N-1)} = 0.1961.

The adjusted standard error is the fpc times the unadjusted standard error = .01884 as a proportion of the samples.

Multiply the number of samples (n) by the adjusted standard error and obtain 0.4899 (the adjustment to the number of samples required to be positive) {closing parenthesis missing in original}.

Multiply the number of samples (n=26) by the percent required to be positive (P=0.60) is 15.6.  Adding 1.64 times the adjusted standard error yields

15.6+(1.64 * 0.4899) = 16.403 - the 90% upper confidence limit.

To be 90% confident that the sample results are the result more than 60% of the population having total coliform, more than 16.4 samples of the 27 need to be positive.  This is rounded down to 16 or more samples need be positive.

A spreadsheet performing these calculations is available.  For those in the Parker Lincoln Building, it is at S:\DEH\PWS\Vincent_T\SRF_Prog_Dev\WellSampling\ WellSamplingStatisticalTests_v1.0.xls.  For others, it is posted under the DWSRF website.

# Appendix 2 – Random Number Generating Methods

Prepared as Guidelines for Sampling Community Wells {"Sampling Protocol (for J.Miles 1-30-2001).doc"}, internal correspondence prepared by Harry Herrick of the State Center for Health Statistics, part of DPH, for Jessica Miles).

I. Preparing the list of community wells (sample frame):

- Community applicants will need to provide the Public Water Supply Section with a list of all wells affected by the proposed water improvement project. Each well on the list will require some form of identification, such as the home owner’s name or street address, to designate the physical location of the well.

- NOTE: A label or number, obtained from the list of wells in the community, should be attached to each sample member sent to the lab for analysis.  The report from the lab should also show the results of the analyses by the labels that are associated with any given community sample. (If a lab report contains a label that does not correspond to a member of the sample list, then those results should be discarded.)

- The list of wells can be ordered in any fashion. (For persons’ names, alphabetical listings are usually recommended.)

- Staff from the Public Water Supply Section will then need to attach a number or ‘label’ to the list of wells, beginning with 00, 01, 02, etc., and proceed with consecutive numbers until all wells on the list are numbered.  Two digit labels, i.e. 00-99, are adequate for sample frames containing between 11 and 100 wells.  Three digit labels, 000, 001, etc., are needed for sample frames containing between 101 and 1000 wells. Always use as few digits as possible in labels.

- IMPORTANT NOTE:  If using automatic random number generators, such as the one described below [B], the list may be numbered from 1 to the total number of wells on the list. The use of the leading ‘0’ digit is needed only for using random numbers tables.

II. Selecting the sample (Method A & B):

A. Using a random numbers table:

- This procedure requires access to a table of random numbers, which can usually be found in most introductory statistics textbooks.

- A random numbers table contains columns of numbers usually in blocks of five numbers.  In some tables, the first column designates the line or row number. DO NOT use the line number as part of the selection process of random numbers.

- Enter the table at any line number and systematically read through the table, selecting consecutive two-digit or thee-digit numbers (depending on the population size) until you have reached your desired sample size.

Example:  Randomly select 4 wells from a total of 50 wells

  - We enter a random number table at line number 131. The first three blocks of random digits read: 05007 16632 05194

  - Our sample consists of wells having the labels:  05, 00, 32, and 19.

  - We ignore 71 and 66 because they are greater than 50.

  - Because 05 is already in the sample, we ignore repeated groups of digits.

B. Using an automatic random number generator located on the Web:

- Go to: http://www.randomizer.org/index.htm   Research Randomizer is a free web-based service for students and researchers ‘who want an easy way to perform random sampling.’ The service is sponsored by the Social Psychology Network and maintained by Scott Plous, Wesleyan University.

- Click on the Randomizer button on the home page.

- Fill out the Randomizer form accordingly:

  - “How many sets of numbers do you want to generate?”   [enter 1]

  - “How many numbers per set?” [enter the desired sample size, e.g., 50]

  - “Number range (e.g., 1-50):”   “From:” [enter 1]   “To:” [enter total number of wells, e.g., 128]

  - “Do you wish each number in a set to remain unique?”  [enter Yes]

  - “Do you wish to sort your outputted numbers?”  [enter Yes]

  - “How do you wish to view your outputted numbers”  [check ‘Place markers off]

  - Click on the Randomize Now! button and record numbers.

  - Select the sample of wells with the corresponding numbers from your list of total wells.

# Appendix 3 - Example Report

Example Report Justifying Health Priority Points for a Water Main Extension.

Version 2.0

Signed and dated by "Responsible Official" who submits the application, or signed, sealed and dated by the P.E.

Table of Contents

1.0 Purpose and Overview	32

1.1 The proposed project	32

1.2 Positive statements	32

1.3 Cost Effectiveness	33

2.0 Sampling	34

2.1 Selection of sample locations	34

2.3 Treatment of samples and analysis	34

2.4 Age of samples	34

3.0 Results	35

Appendix 1  -  Color-coded map of the area	37

Appendix 2  -  All field data sheets	37

Appendix 3  -  All laboratory data sheets	37

Appendix 4  -  Copies of notification of positive results to each owner	37

List of Tables

Table 1 – Alternatives Comparison	33

Table 2 – All Results Tabulated	36

# 1.0 Purpose and Overview

This report demonstrates that public health points are justified for the proposed project: extending a six-inch water main three miles along US Route 19.

## 1.1 The proposed project

The proposed project is to extend a six-inch service / transmission line three miles North from Clairsville to interconnect with Bethel.  The purposes of the project are a) to provide water service to 35 homes currently served by individually owned wells, and b) to provide the interconnection between Clairsville and Bethel (and continuing to Mineral Beach).

The project was originally expected to qualify for all 150 available "Public Health and Compliance" points under 15A NCAC 1N .0602(1)(a) for the Drinking Water State Revolving Fund (DWSRF), based on total coliform contamination:

Projects that address documented nitrate, nitrite, or fecal coliform MCL violations or contaminant levels in drinking water which constitute acute health risks as defined in 40 C.F.R. 141.32(a)(1)(iii) which is incorporated by reference at 15A NCAC 18C .1523.

However, the results indicate that the total coliform contamination does not reach the level qualifying for such priority points (60%).  Based on the sampling program 42.9% (15/35) of all the samples taken in the area are contaminated with total coliform.

Further, the fecal coliform contamination does not reach the level qualifying for maximum priority points (10%).  Based on the sampling program, 8.6% (3/35) of all the samples taken in the area are contaminated with fecal coliform.

Instead, the project qualifies for 40 of the 150 available "Public Health and Compliance" points under 15A NCAC 1N .0602(4)(c):

Projects for line installation or extensions to areas with poor water quality or limited quantity.

## 1.2 Positive statements

This report is signed, sealed, and dated by Bartholomew C. Jones, PE (alternatively, the report may be signed and dated by the responsible official).  Mr. Jones makes the following representations in this report.

- The first house north of the existing six-inch line (10,000 US Rt. 19) could currently obtain water service.  This house is currently served by an individually owned well.  Based on the sampling conducted, this well is not contaminated.  The owner has not connected to public water because the well is not contaminated and the connection fee (for the 300-foot service line) would be approximately $8,000).  Results are reported both including and discounting this property.

- This project will make water service available to each property for which results are reported with one exception.  15,000 US RT. 19 (sample #11) is 150 feet above the road at the top of the highest elevation in the line and cannot be served by the transmission line pressure zone.  It is not economically feasible to modify the design to serve this one wellsite.  Service will not be available to 15,000 US Rt. 19 (which has a contaminated well).  Results are reported both including and discounting this sample.

- "We have notified the owner of each well showing contamination."  Copies of these notifications are attached as Appendix 4.

- "Owners of 30 of the 35 wellsites along the route have provided statements that they propose to sign up for the service.  This constitutes 89% of the wellsites that can be served.  Discarding sample 11 (15,000 US Rt. 19 – which cannot be served because of hydraulics) and sample 1 (10,000 US Rt. 19, which can currently be served), this is 29 of 33 or 88% of the wellsites that can be served.

- There are 35 potential connections in the 3.0-mile project, or 11.7 potential connections per mile of waterline.  Considering only those 30 connections whose owners have proposed to connect, there are 10 connections per mile.  This is below PWS's preference to fund projects meeting 80% commitment at 17 connections per mile.

## 1.3 Cost Effectiveness

The cost effectiveness of the project and of the technically feasible alternatives is discussed at greater length in the preliminary engineering report (PER), and is only outlined here.  In summary the PER discusses the following five alternatives:

Table 3 – Alternatives Comparison

| Alternative | Advantage | Disadvantage | Cost | Cost / wellsite (33) |
| --- | --- | --- | --- | --- |
| Proposed Waterline Extension | - meets health need - gets all wellsites on a regulated public system. - provides interconnection between Bethel & Clairsville. - Is expected to form backbone of a Bethel-to-Clairsville-to-Mineral Beach Regional System | Most costly | $800K | $24,242 ($12,121 remaining after contribution of Bethel & Clairsville) |
| Do Nothing Alternative | cheapest alternative | fails to address public health need | 0 | 0 |
| Rehabilitate existing wells | inexpensive | not expected to succeed – previous superchlorinations on three wells were recontaminated within six month | N/A | $2,000 |
| Drill new wells | still inexpensive | leads to unregulated individually owned wells that can again be contaminated |  | $10,000 |
| New community system | less expensive than waterline extension | although technically feasible, the system would be too small and spread-out to be viable | $500K | $15,151 |

# 2.0 Sampling

Sampling was performed in accordance with the Public Water Supply Section's Policy for using sampling of individually owned wells to establish public health priority points. Version 2.0.

## 2.1 Selection of sample locations

There are 35 wellsites along the proposed project.

Location #1 (10,000 US Route 19) is currently serviceable.

Location #11 (15,000 US Route. 19) cannot be served by the proposed waterlines (for hydraulic reasons).

Therefore, there are effectively, 33 sample locations.

Based on Tables 2 and four of the Public Water Supply Section's Policy for using sampling of individually owned wells to establish priority points, for 33 sample locations, a minimum of 30 samples are required.

For simplicity, and because of the low cost of bacteriological analysis, all 35 wells were sampled, including #1 and #11

Based on the Table 1 of PWS's policy for sampling all the affected wellsite, to earn maximum public health priority points:

- 60% or more of the wellsites must be contaminated with total coliform, or

- 10% or more of the wellsites must be contaminated with total coliform.

## 2.3 Treatment of samples and analysis

Samples were taken by Kurt Smith, a technician with the XX County Public Health Department.  Mr. Smith is a qualified water treatment plant operator and is familiar with Method XX sampling.

Samples were acquired in accordance with XXX.  Samples were stored (from acquisition until delivery to the laboratory) in an unsealed cooler in the bed of a pickup truck, shaded by a cap.  At no time were the samples locked in the cab with the windows up.  Samples were stored at ambient temperatures (but out of direct sunlight).

Samples were logged in at the XX County Public Health Department Laboratory and analyzed by Method 31XX for total coliform.  The XX County Public Health Department laboratory is certified by EPA for Method XX sampling

Samples found to have total coliform contamination were subsequently analyzed by Method 31XXXX for fecal coliform.  All samples were analyzed on the same day as acquired (results the next day).

All laboratory results sheets are included in Appendix 1.

## 2.4 Age of samples

Samples were acquired on 10, 11, and 12 July 2002.  The samples are approximately one month old as of the date of this report.  None of the samples will be eighteen months or older on the application deadline (30 September 2003).

# 3.0 Results

The results of a coordinated sampling program are reported in Table 1 below.  Valid samples were obtained from all 35 wellsites.   Please note the following:

- The "Location" field indicates the address on US Route 19.

- The "Sample Date" and "Analysis Date" fields indicate the day in July on which the sample was acquired and analyzed.

- One of the samples (sample # 8a, the original sample for 13,500 US Route 19) fell to the floor and broke as samples were being logged in.  This spoiled the sample before analysis.  The spoiled sample was not analyzed and is not included in the data analysis.  A second sample (#8b) was taken at the same location the next day.

- 15,000 US Route 19 will not receive service (for hydraulic reasons).  Sampling was performed only for the sake of completeness.  Statistical results are reported excluding this property.

- 10,000 US Route 19 is currently serviceable. Statistical results are reported excluding this property.

Based on 35 "affected" wellsites(including 10,000 and 15,000 US Route 19:

- Fifteen of the wells were positive for total coliform (21 needed for maximum priority points).

  - The sampling fails to establish that the total coliform contamination rate exceeds 60%.

- Two of the wells were positive for fecal coliform (four needed for maximum priority points).

  - The fecal coliform contamination rate in the sample population approaches 6%.

  - The sampling fails to establish that the fecal coliform contamination rate exceeds 10%.

Based on 33 "affected" wellsites(excluding 10,000 and 15,000 US Route 19:

- Fifteen of the wells were positive for total coliform (20 needed for maximum priority points).

  - The sampling fails to establish that the total coliform contamination rate exceeds 60%.

- Two of the wells were positive for fecal coliform (three needed for maximum priority points).

  - The fecal coliform contamination rate in the sample population approaches 6%.

  - The sampling fails to establish that the fecal coliform contamination rate exceeds 10%.

Table 4 – All Results Tabulated

| Lab ID | Location | Fecal? | Total? | Currently Serviceable? | Future Service? | Sample Date | Analysis Date | Proposes to Connect? | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 10,000 |  |  |  |  | 10 | 10 | no | Currently serviceable |
| 2 | 10,500 |  |  |  |  | 10 | 10 | yes |  |
| 3 | 11,000 |  |  |  |  | 10 | 10 | yes |  |
| 4 | 11,500 |  |  |  |  | 10 | 10 | yes |  |
| 5 | 12,000 |  |  |  |  | 10 | 10 | yes |  |
| 6 | 12,500 |  |  |  |  | 10 | 10 | no |  |
| 7 | 13,000 |  |  |  |  | 10 | 10 | yes |  |
| 8a | 13,500 | N/A | N/A |  |  | 10 | 10 | yes | Spoiled by dropping |
| 8b | 13,500 |  |  |  |  | 11 | 12 | yes | Replaced sample #8a |
| 9 | 14,000 |  |  |  |  | 11 | 11 | yes |  |
| 10 | 14,500 |  |  |  |  | 11 | 11 | yes |  |
| 11 | 15,000 |  |  |  |  | 11 | 11 | no | will not be serviced; sampled only for sake of completeness |
| 12 | 15,500 |  |  |  |  | 11 | 11 | yes |  |
| 13 | 16,000 |  |  |  |  | 11 | 11 | no |  |
| 14 | 16,500 |  |  |  |  | 11 | 11 | yes |  |
| 15 | 17,000 |  |  |  |  | 11 | 11 | yes |  |
| 16 | 17,500 |  |  |  |  | 11 | 11 | yes |  |
| 17 | 18,000 |  |  |  |  | 11 | 11 | yes |  |
| 18 | 18,500 |  |  |  |  | 11 | 11 | yes |  |
| 19 | 19,000 |  |  |  |  | 12 | 12 | no |  |
| 20 | 19,250 |  |  |  |  | 12 | 12 | yes |  |
| 21 | 19,400 |  |  |  |  | 12 | 12 | yes |  |
| 22 | 19,500 |  |  |  |  | 12 | 12 | yes |  |
| 23 | 20,000 |  |  |  |  | 12 | 12 | yes |  |
| 24 | 20,500 |  |  |  |  | 12 | 12 | yes |  |
| 25 | 21,000 |  |  |  |  | 12 | 12 | yes |  |
| 26 | 21,500 |  |  |  |  | 12 | 12 | yes |  |
| 27 | 22,000 |  |  |  |  | 12 | 12 | yes |  |
| 27 | 22,500 |  |  |  |  | 12 | 12 | yes |  |
| 29 | 23,000 |  |  |  |  | 12 | 12 | yes |  |
| 30 | 23,500 |  |  |  |  | 12 | 12 | yes |  |
| 31 | 24,000 |  |  |  |  | 12 | 12 | yes |  |
| 32 | 24,500 |  |  |  |  | 12 | 12 | yes |  |
| 33 | 25,000 |  |  |  |  | 12 | 12 | yes |  |
| 34 | 25,000 |  |  |  |  | 12 | 12 | yes |  |
| 35 | 25,000 |  |  |  |  | 12 | 12 | yes |  |
| Sums |  | 2 | 15 | 1 | 35 |  |  | 30/35 "yes" |  |

# Appendix 1  -  Color-coded map of the area

This map shows the locations of all samples taken, the results (color-coded as green for clean (uncontaminated), yellow for total coliform, red for fecal coliform, and brown for the spoiled sample) and includes the proposed project layout.

# Appendix 2  -  All field data sheets

# Appendix 3  -  All laboratory data sheets

# Appendix 4  -  Copies of notification of positive results to each owner

# Appendix 4 – Revision History

Changes to version 2.0 from version 1.9, based on final proofread:

- Page 3 – placed period at end of second paragraph.

- Page 8 – removed extra whitespace.

- Page 13 – note missing closing parenthesis in quoted matter.

- Page 20 – inserted optional hyphen.  Added caption to table outlining alternatives analysis.

- Page 21 –inserted comma in a dollar amount, changed referenced version of the Policy, and changed an example date to a future date.

- Page 25 – made typographic changes in version 1.9 history discussing changes to §2.1 and §2.2 (formerly items III and IV).

Changes to version 1.9 from version 1.8, based on John McFadyen's second review, completed 10 July 2002:

- "Private well" is changed to "individually owned well" throughout the document.

- In §1.0, first paragraph:  reject suggested wording change "almost."  The cited regulations are identical.

- In §2.1, first outline item: "determines that too many wells in an area are contaminated" is replaced with "identifies an area with excessive contamination of individually owned wells."

- §2.2, second paragraph is rewritten as requested to clarify that the table must be submitted as a Microsoft Excel spreadsheet.  A footnote reference to the definition of "general-purpose identifier" and "unique identifier" is added.

- §2.3, first paragraph is rewritten as requested.

- In §2.3, fourth paragraph, the reference to "rule of thumb" is removed.

- In §2.3, the fifth paragraph is retained.  It is important to point out the implications of sampling all wellsites (conducting a census).

- In §2.4, third paragraph:

  - first sentence, a typographical error is corrected.

  - second sentence, the footnote is modified to further define what "appropriately certified" means.

  - the following sentence is added: " The laboratory shall report the analysis results to the applicant on the PWS form approved for compliance with the NC Drinking Water Act."

- In §3.0, outline item #8, the request to specify that the unique identifier be three alphanumeric digits is rejected.  There is no need to specify the number of digits.  The applicant is free to follow the example report, where, for example the five-digit address is used as the unique identifier.

- Appendix 3, Example Report: "private well" is changed to "individually owned well" throughout the example report.

Changes to version 1.8 from version 1.6, based on John McFadyen's review completed 7 June 2002:

- Page 3 and page 4 [p] is used where capital "P" is replaced by a small "p" in a quotation.  This is a typographical convention designating a change of capitalization in a quotation, and is used throughout the policy.

- In table 2, "POPULATION SIZE (TOTAL WELLS)" is replaced with "TOTAL NUMBER OF WELLS (POPULATION SIZE)."

In §2.2, last paragraph, reworded the last sentence to no longer end with a preposition.

- In §2.4, first paragraph, remove reference to "or state health department."  In third paragraph, remove "[i]t is not necessary to maintain sample chain-of-custody to the rules of evidence standard."

- In §3.0, items 6 and 7 are reworded with input from Mr. McFadyen.

In item 10b), I change "17" to "a minimum of 17 " to clarify that 17 connections per mile is the minimum for an 80% positive response rate.

In item 11a), I remove the word "identified."

- Response to question on Appendices 2 and 1 "is J.Miles reference required?"  Yes, since the references are part of filenames: {"Sampling Protocol (for J.Miles 1-30-2001).doc," and "Statistical Notes (for J.Miles 1-30-2001).doc."

- In version 1.8, this revision history section of the policy is restored to document changes, reasons for changes, and who requested changes.  It also lists rejected requests for changes, and reasons for rejections.

- Signature Version 1.7 was identical to version 1.6, but the "DRAFT" designation and this revision history section were removed for signature.

Changes to version 1.6 from version 1.4, based on 10 May 2002 meeting:

- Discuss cost effectiveness.  Compare the cost of the project to the cost of every identified technically feasible alternative.  Calculate the cost per household or per connection of each alternative.  Then discuss limitations that may make an identified technically feasible alternative infeasible (e.g., poverty, politics).  Discuss who proposes to sign up and consider this in cost/household that signed up.  Addressed in §3, new item 11.

- Note that, consistent with USDA Rural Development, PWS prefers to fund projects meeting 80% commitment at 17 connections per mile.  In certain cases, commitment proportion can be traded against connections per mile.

    - Require the applicant to sign a statement that describes the proportion of the households along the route that propose to sign up for the service.

    - Require the applicant to document the number of connections per mile.

Addressed in §3, item 10 and item 11.

- Require the applicant to document notification to well owners for every positive well test.  Addressed in §3, item 10.

- 25% for other MCLs confirmed.  Left in §1.

- "Appropriately certified drinking water laboratory" replaces "EPA CLP Certified Laboratory" in §2.4.  Later add footnote to require certification appropriate to the analyte, and recognized in NC (based on advice from Michael Douglas).

- Confirmed that the Applicant or Applicant's agent (engineer) can collect the sample.  Does not need to be explicit.

- In the case of expensive analyses (e.g., pesticide), PWS may consider existing analytical data, to the extent that it corresponds to the required sampling.  Addressed by adding footnote to §2.

- Use the 90% confidence level rather than the 95% confidence level.  This change is made throughout the document.

- PWS will not require any attempt to superchlorinate or otherwise rehabilitate the wells.  We also decided against various proposals to require certification of well construction; we decided it didn't matter why a well was bad; the water needs to be replaced.

Action Item.  Vincent Tomaino will discuss tables vs. spreadsheets with Jessica and decide which approach to use.

Addressed in email from Harry Herrick, of the State Center for Health Statistics, 16 May 2002.  Confirmed by email from Jessica Miles 17 May 2002.

- AAdd signature lines to the policy document.  Addressed on cover page.

Maximum public health priority points under the State Bond Grant program are codified under 15A NCAC 1J .0701(2)(a)(i).

Maximum public health priority points under the State Bond Loan program are codified under 15A NCAC 1L  .0701(2)(a)(i).

Maximum public health priority points under the Drinking Water State Revolving Fund (DWSRF) program are codified 15A NCAC 1N .0602(1)(a).

PWS administers the State Bond Loan and Grant programs and the Drinking Water State Revolving Fund (DWSRF) loan program).

For coliform, nitrate, and nitrite, the required minimum level of contamination is twice the worst-case countywide average contamination rate.  The required minimum level of contamination for other pollutants was established in a DEH review committee meeting on 10 May 2002.

For expensive analytes (e.g., pesticides) PWS will allow the reuse of existing data to the extent it corresponds to the sampling sites PWS assigns.

The general-purpose identifier and the unique identifier are described in §3.0.

The certification must be issued by the State of North Carolina for compliance with the NC Drinking Water Act and must be for the analyte in question.

An example color-coding scheme is green for uncontaminated (clear), yellow for total coliform, red for fecal coliform, and brown for a spoiled sample.  A spoiled sample is one with no reliable results.  Examples of spoiled samples are samples lost, or samples that exceeded allowable holding times.

sqrt(x) means square root of x.  The square root character (√) does not display correctly on some computer systems.

Or equivalently, all 90 available "Public Health and Compliance" points under 15A NCAC 1J .0711(2)(a)(i).

Or equivalently, 24 of the 90 available "Public Health and Compliance" points under 15A NCAC 1J .0711(2)(d)(iii).

Footnotes struckthrough pending policy removing individually owned well contamination from bond program.

3 35 connections in 3.0 miles.

Got this 80% commitment proportion at 17 connections per mile from Dennis DeLong of USDA Rural Development in a telephone call on 13 May 2002.