BEWARE THE THERMOMETER !

# ACCURACY, PRECISION,

# AND ERROR ANALYSIS

Your task is simple. Using a thermometer that I will give to your lab group, devise a means of determining the precision and accuracy of these often-unscrupulous instruments.

Report the following.

- The precision level of the thermometer

- The accuracy of the thermometer at 2 different temperatures

- The percent error of the thermometer at each temperature tested.

- Within the precision allowed by the thermometer, how you could use it to accurately determine the temperature of a substance at any temperature within its range.